## Slide 1: Controllers
By Finn Haugen
(finn.haugen@usn.no)
Course PEF3006 Process Control Fall 2017

## Slide 2: Where is the controller in the control loop?

## Slide 3
(ECA600, ABB)
Process Controller

## Slide 4
Backplane of ECA600:
Process Controller cont.
AO = Analog Output
(from controller)
= Control signal
to the actuator
AI = Analog Input
(to controller)
= Measurement signal
from the sensor
AO signal ranges:
4 – 20 mA (most popular)
or 0 – 5 V or 0 – 10 V
AI signal ranges:
4 – 20 mA (most popular)
or 0 – 5 V or 0 – 10 V
Digital communication

## Slide 5
(Compact FieldPoint, National Instruments)
Process controller cont.
From User’s Manual
Basic
features

## Slide 6
Another example:
ABB CM50

## Slide 7
CM50 comes with several templates of control structures.
Which control structures are above?
Example:

## Slide 8
(Compact FieldPoint, National Instruments)
Programmable
Automation Controller (PAC)

## Slide 9
(FX2N, Mitsubishi)
Programmable Logical Controller (PLC)

## Slide 10
(Allen-Bradley)
More modern family of PLCs

## Slide 11
SCADA system
(Supervisory Control and Data Acquisition)