## Slide 1: Feedforward Control
By Finn Aakre Haugen
(finn.haugen@hit.no)
Course PEF3006 Process Control Fall 2017

## Slide 2
Why?
Faster disturbance compensation
and/or
Faster setpoint tracking (important only with time-varying setpoint)
How?
Connecting disturbance measurement signal directly to the actuator (the control signal)
What is needed?
Measurement of disturbance(s)
and
Process knowledge in the form of some mathematical model

## Slide 3
Control system with both feedforward and feedback:

## Slide 4
Example: Feedforward control in a temperature control system
  (We will run a simulator of this example.)

## Slide 5
(1) Process modelling: Energy balance:
(2) The feedforward controller is obtained by solving for the control variable, and substituting the process variable by its setpoint:
Example cont.:
How to derive the feedforward controller:
Can it be implemented?
Find out by inspecting the right-hand side!
All terms must have known values.
Which sensors are needed?

## Slide 6
  Example cont.:
  Simulator:
  Feedforward control in temperature control system

## Slide 7
Another example: Feedforward in a DP system( dynamic positioning)
7

## Slide 8
  Simulator:
  Feedforward in DP system
  (Unzip all files, and then run the exe-file.)
8

## Slide 9
Experimental
feedforward
9

## Slide 10
Structure of control system:
10

## Slide 11
Relation between disturbance measurement and
steady-state control signal (with PID controller):
11

## Slide 12
Example: Temperature control
12

## Slide 13
Without feedforward (only feedback):
13

## Slide 14
With feedforward (and feedback)
Improvement?
14

## Slide 15
Example 2: Feedforward from inlet temperatur (Tp_inn) in temp. control of heat ex.
  Simulator