## Slide 1: Anti windup in PID controllers
Course: Process Control, NMBU
Dec 2017 - April 2018
By Finn Aakre Haugen, PhD, TechTeach
(finnhaugen@hotmail.com)

## Slide 2
Anti windup locks or freezes the integral term of the PID controller when the control signal is at max or min limit.
Why? To avoid the I-term growing to a very large value, which would cause a large and long-lasting control error.
Simulator

## Slide 3
Reverse mode = Heating mode
Direct mode = Cooling mode
Simulator
Why these somewhat strange terms? Let's think about temperature control systems...