## Slide 1: Controllers
Course: Process Control, NMBU
Dec 2017 - April 2018
By Finn Aakre Haugen, PhD, TechTeach
(finnhaugen@hotmail.com)

## Slide 2: Where is the controller in the control loop?

## Slide 3
(ECA600, ABB)
Process Controller

## Slide 4
Backplane of ECA600:
Process Controller cont.
AO = Analog Output
(from controller)
= Control signal
to the actuator
AI = Analog Input
(to controller)
= Measurement signal
from the sensor
AO signal ranges:
4 – 20 mA (most popular)
or 0 – 5 V or 0 – 10 V
AI signal ranges:
4 – 20 mA (most popular)
or 0 – 5 V or 0 – 10 V
Digital communication

## Slide 5
(Compact FieldPoint, National Instruments)
Process controller cont.
From User’s Manual
Basic
features

## Slide 6
Another example:
ABB CM50

## Slide 7
CM50 comes with several templates of control structures.
Example (cascade + feedforward control):

## Slide 8
CompactRIO, National Instruments:
Programmable Automation Controller (PAC)
"The CompactRIO platform features a range of embedded controllers with two processing targets: (1) a real-time processor for communication and signal processing and (2) a user-programmable FPGA to implement high-speed control and custom timing and triggering directly in hardware. Eliminate the need for separate subsystems by connecting directly to sensors, displays, cameras, and motors and take advantage of powerful development and run-time software." (National Instruments)

## Slide 9
Principal components of PLC and PAC (in Norwegian, but assumed understandable)

## Slide 10
Principal structure of SCADA (Supervisory control and data aquisition) and of DCS (distributed control systems) (here: Siemens PCS7)

## Slide 11
Simple, "home-made", PC-based monitoring and control system for non-critical experimental work
(in Norwegian, but assumed understandable)